# RNA extraction from cell pellets with PicoPure

Materials

- Based on Arcturus® Pico Pure® RNA Isolation Kit (Life Technologies, KIT0204)

- DNase I, RNase free (Qiagen 79254)

Step-by-step Protocol

- Pellet cells in a microcentrifuge for 2 min at 3,000x g.

- Discard supernatant

- Optional: cell pellet resuspension

  - Resuspend the cell pellet in one mL of cell suspension media (0.9 mL of 1x PBS/ 10%BSA; 0.1 mL of 0.5 M EDTA). Do NOT vortex!

  - Centrifuge the cell suspension at 3,000 x g for 2 min.

  - Discard supernatant.

- Resuspend the cell pellet gently by pipetting. Do NOT vortex!

- Extract cells with 50 uL of Extraction Buffer (XB). Optional (if step 3 was done):

- Incubate at 42C for 30 min.

- Pre-condition the RNA Purification Column

  - Pipette 250ul Conditioning Buffer (CB) onto the purification column filter membrane.

  - Incubate the RNA Purification Column with Conditioning Buffer for 5 min at room temperature (RT)

  - Centrifuge the purification column in the provided collection tube at 16,000 xg for 1 min.

- Optional: collecting of extract

  - Centrifuge the sample at 3,000 x g for 2 min.

  - Pipette the supernatant containing the extracted RNA into a new microcentrifuge tube, avoiding pick-up of pelleted material.

- Pipette 50 uL of 70% Ethanol (EtOH) to the cell extract. Mix well by pipetting up and down. Do NOT centrifuge.

- Pipette the cell extract and EtOH mixture into the pre-conditioned purification column. The cell extract and EtOH will have a combined volume of approximately 100 uL.

- To bind the RNA, centrifuge for 2 min at 100 x g, immediately followed by a centrifugation at 16,000 xg for 30 seconds to remove flowthrough.

- Pipette 100 ul Wash Buffer 1 (W1) into the purification column and centrifuge for 1 min at 8,000 x g.

- Optional: DNase I treatment. Use RNase-free DNase Set (Qiagen, catalog #79254)

  - Prepare incubation mix: pipette 10uL DNase I stock solution to 30uL Buffer RDD. Mix by gently inverting.

  - Pipette 40uL DNase incubation mix directly into the purification column membrane. Incubate at room temperature for 15 minutes.

  - Pipette 40uL PicoPure RNA Kit Wash Buffer 1 (W1) into the purification column membrane. Centrifuge at 8000 x g for 15 seconds.

- Pipette 100 uL Wash Buffer 2 (W2) into the purification column and centrifuge for 1 min at 8,000 x g.

- Pipette another 100 uL Wash Buffer 2 (W2) into the purification column and centrifuge for 2 min at 16,000 x g. Check the purification column for any residual wash buffer. If the wash buffer remains, re-centrifuge at 16,000 x g for 1 min.

- Transfer the purification column to a new 0.5 mL microcentrifuge tube provided in the kit.

- Pipette Elution Buffer (EB)  (16uL) directly onto the membrane of the purification column (gently touch the tip of the pipette to the surface of the membrane while dispensing the elution buffer to ensure maximum absorption of EB into the membrane). Use the Elution Volume guide table to select the correct volume of Elution Buffer to use in this step.

Recommended volume – 11 uL

Maximum volume – 30 uL

RNA can be concentrated in a vaccum centrifuge to reduce the volume to 10 uL.

- Incubate the column for 1 min at room temperature.

- Centrifuge the column for 1 min at 1,000 x g (make sure to balance the tubes, mind the tube size). Then, spin for 1 min at 16,000 x g to elute RNA. Use immediately or store sample at -80°C.